Thomas and Betts Corporation

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.

This section must be carefully reviewed and edited by the Architect or Engineer to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Update.
SECTION 26 05 33.52
COMMERCIAL GRADE CONDUIT BODIES
Specifier Notes:  Delete any information below in Parts 1, 2 or 3 which is not required or relevant for the project.

PART 1 – GENERAL

1.01
SUMMARY

A.
This section includes conduit bodies for use with Electrical Metallic Tubing Type: EMT, Intermediate Metal Conduit Type IMC, and Rigid Metal Conduit Type RMC.

B.
Related Sections:


1. 
Section 26 05 33.54 
Industrial Grade Conduit Bodies

1.02
REFERENCES

A.
Underwriters Laboratories, Inc. (UL):



1.
UL514A

Metal Outlet Boxes



2.
UL514B

Conduit, Tubing and Cable Fittings

B.
National Fire Protection Association (NFPA):




1.  
NFPA 70
 
National Electrical Code (NEC)

C.
Federal Specification


1.
W-C-586/A-A-50563
Conduit Outlet Boxes, Bodies, and Entrance Caps, Electrical

D.
Canadian Standard Association (CSA):



1. 
CSA C22.2 No. 18
Outlet Boxes, Conduit Boxes, Fittings and Associated Hardware

2.
CSA C22.1

Canadian Electrical Code Part I

1.03
SUBMITTALS


A.
Comply with Section 01 33 00 – Submittal Procedures.


B.
Product Data:

1. 
Submit manufacturer’s descriptive literature and product specifications for each product.

2. 
Manufacturer’s product drawings. 

1.04
QUALITY ASSURANCE

A.
Manufacturer Qualifications: Products shall be free of defects in material and workmanship. 
B.
Furnished products are listed or classified by third party agencies as suitable for the intended purpose.

1.05 WARRANTY
A. Product is warranted free of defects in material and workmanship.
B. Product is warranted to perform the intended function within design limits.

PART 2 – PRODUCTS

2.01 GENERAL 

A. Conduit Bodies shall be constructed for applications in accordance with the National Electrical Code Article 314.

B. Conduit Bodies shall be available in trade sizes from 1/2” to 4”.  

C. Conduit bodies shall employ configurations for threaded and/or threadless conduits.

D. Conduit bodies shall be UL Listed and CSA Certified.

E. Conduit bodies shall comply with Federal Specification W-C-586/A-A-50563.
2.02
MANUFACTURERS

A.
Acceptable Manufacturers:



Thomas & Betts Corporation

8155 T&B Blvd

Memphis, TN 38125

800-816-7809, 901-252-5000

www.tnb.com


Products: 


1. Red Dot® Conduit Bodies

2.03
DESIGN AND PERFORMANCE REQUIREMENTS

A. Conduit bodies shall be made from die cast aluminum with less than .004 copper content (copper-free).
B. Covers shall be made from die cast or stamped aluminum with less than .004 copper content (copper-free).

C. Die cast bodies and covers shall have a powder coated paint finish.

D. Stamped covers shall have a natural finish.

E. Screw shall be stainless steel.

F. Gaskets shall be molded rubber or fiber composition.
G.
All materials shall comply with applicable NEMA Specifications and UL Standards.

H.
Conduit bodies shall be rated for use with 90° C conductors.

I.
Conduit bodies shall carry a UL, CSA, and cubic inch marking.

J.
Fittings shall be marked in accordance to 110.21 of the NEC and UL514A and UL514B
PART 3 – EXECUTION

3.01
INSTALLATION

A.
Installation shall be in accordance with the NEC and CEC guidelines where applicable.


END OF SECTION

COMMERCIAL GRADE CONDUIT BODIES
26 05 33.52-1  

REVISION 0

